## Slide 1
DOORS AND WINDOWS
Construction – Unit 9 | Describing Options
Career Paths: Construction
Reading context: Product descriptions

## Slide 2
Introduction
2
▪ Doors and windows are key openings in the building envelope.
▪ They control access, light, ventilation, views and security.
▪ Correct selection depends on function, location, climate and design.
▪ This unit helps you describe and compare the available options.
▪ Key skill (Function): describing options to a client or co-worker.

## Slide 3
Doors: Main Types
3
▪ Sliding door: moves sideways on a track.
▪ Pocket door: slides into a cavity inside the wall.
▪ Bifold door: folds in two panels to open.
▪ Revolving door: rotating panels; saves heated/cooled air.
▪ Automatic door: opens by sensor, no manual effort.
▪ Pocket / fire door: fire door resists fire and smoke spread.
▪ Fire door: rated to slow the spread of fire.
▪ Frame: the surround that holds the door in place.

## Slide 4
Windows: Main Types
4
▪ Fixed: does not open; provides light and view only.
▪ Double-hung: two sashes slide up and down.
▪ Casement: hinged at the side; swings outward.
▪ Awning: hinged at top; opens outward from the bottom.
▪ Hopper: hinged at bottom; opens inward from the top.
▪ Sliding: sash slides horizontally on a track.

## Slide 5
Window Components
5
▪ Sash: the moveable part of the window that holds the glass.
▪ Pane: a single sheet of glass within the sash.
▪ Frame: the fixed outer structure fitted into the wall opening.
▪ Glazing: the glass and the way it is set into the sash.

## Slide 6
Key Vocabulary
6
▪ automatic door
▪ awning
▪ bifold door
▪ casement
▪ double-hung
▪ fire door
▪ fixed
▪ frame
▪ sash
▪ hopper
▪ pane
▪ pocket door
▪ revolving door
▪ sliding

## Slide 7
Choosing the Right Option
7
▪ Space: sliding and pocket doors save floor space.
▪ Energy: revolving and automatic doors reduce air loss.
▪ Safety: fire doors are required on escape routes.
▪ Ventilation: casement and awning windows give good airflow.
▪ View & light: fixed and large panes maximise daylight.

## Slide 8
Useful Language: Describing Options
8
▪ “One option is to install a sliding door.”
▪ “Another possibility would be a casement window.”
▪ “You could go with a fire door for the corridor.”
▪ “If you want more light, I’d recommend a fixed window.”
▪ “Alternatively, we can use a revolving door at the entrance.”

## Slide 9
Summary
▪ Doors: sliding, pocket, bifold, revolving, automatic, fire.
▪ Windows: fixed, double-hung, casement, awning, hopper, sliding.
▪ Components: frame, sash, pane.
▪ Choose by space, energy, safety, ventilation and view.
▪ Function practised: describing options.
Thank you!